## BackCenterCameraCalibration
Raw Data
| Measured Inches | Median Advantage Scope Readings | Average Advantage Scope Readings | STD Dev in Measurements | Measurement 1 | Measurement 2 | Measurement 3 | Measurement 4 | Measurement 5 | Error Measurement 1 | Error Measurement 1 | Error Measurement 1 | Error Measurement 1 | Error Measurement 1
Measurement 1 | 1.0652 | 1.294 | 1.2936 | 0.0437 | 1.2877 | 2.3925 | 3.2851 | 4.1594 | 5.2441 | 0.22248 | 0.1763 | 0.23705 | 0.063596 | -0.13444
Measurement 2 | 2.2162 | 2.277 | 2.2851 | 0.0411 | 1.2881 | 2.3833 | 3.2529 | 4.1453 | 5.2744 | 0.22285 | 0.16712 | 0.20489 | 0.049479 | -0.10413
Measurement 3 | 3.048 | 3.1502 | 3.167 | 0.0573 | 1.29 | 2.3811 | 3.2329 | 4.1617 | 5.2016 | 0.2248 | 0.16488 | 0.18494 | 0.065867 | -0.17686
Measurement 4 | 4.0958 | 4.1528 | 4.1424 | 0.0595 | 1.2888 | 2.3605 | 3.2519 | 4.166 | 5.2198 | 0.22358 | 0.1443 | 0.20393 | 0.070165 | -0.15865
Measurement 5 | 5.3785 | 5.2001 | 5.1999 | 0.0032 | 1.2898 | 2.3542 | 3.2374 | 4.1415 | 5.2497 | 0.22462 | 0.13802 | 0.18942 | 0.045745 | -0.12876
[5 empty] | 1.2903 | 2.3501 | 3.225 | 4.1527 | 5.279 | 0.22514 | 0.13387 | 0.17703 | 0.056949 | -0.099526
[5 empty] | 1.2917 | 2.3399 | 3.2165 | 4.2269 | 5.2692 | 0.22653 | 0.12374 | 0.16851 | 0.1311 | -0.10933
Std Dev Per Measurement |  |  | Final Stats Values |  | 1.2901 | 2.3308 | 3.2003 | 4.1578 | 5.2478 | 0.22494 | 0.11465 | 0.1523 | 0.062044 | -0.13068
Measurement 1 | 0.0451 |  | Average STD Dev: | 0.0281 | 1.2908 | 2.3124 | 3.2198 | 4.1473 | 5.2333 | 0.2256 | 0.096172 | 0.17179 | 0.051515 | -0.14516
Measurement 2 | 0.0193 |  | Maximum STD Dev: | 0.0451 | 1.2916 | 2.3125 | 3.1773 | 4.1754 | 5.2283 | 0.22642 | 0.096346 | 0.12933 | 0.079577 | -0.15021
Measurement 3 | 0.0266 |  | Median STD Dev: | 0.0266 | 1.2934 | 2.3113 | 3.1809 | 4.166 | 5.2186 | 0.22818 | 0.095119 | 0.13285 | 0.070194 | -0.15993
Measurement 4 | 0.02 |  | Final StdDev Value for Camera | 0.0281 | 1.2926 | 2.2971 | 3.1823 | 4.1956 | 5.224 | 0.22742 | 0.080924 | 0.13429 | 0.099814 | -0.1545
Measurement 5 | 0.0294 |  |  |  | 1.294 | 2.2929 | 3.1736 | 4.1587 | 5.2314 | 0.22881 | 0.07674 | 0.12557 | 0.062916 | -0.14707
[5 empty] | 1.2937 | 2.2833 | 3.1477 | 4.1301 | 5.2099 | 0.2285 | 0.067139 | 0.099663 | 0.034254 | -0.16865
[5 empty] | 1.2954 | 2.2706 | 3.1322 | 4.1586 | 5.2001 | 0.23022 | 0.054438 | 0.084202 | 0.062798 | -0.17837
[5 empty] | 1.2968 | 2.2704 | 3.1462 | 4.1802 | 5.245 | 0.23159 | 0.054171 | 0.09822 | 0.084426 | -0.13349
[5 empty] | 1.2965 | 2.2583 | 3.1502 | 4.1042 | 5.193 | 0.23126 | 0.042095 | 0.1022 | 0.0084193 | -0.18553
[5 empty] | 1.2971 | 2.2521 | 3.1082 | 4.1528 | 5.2455 | 0.23191 | 0.035899 | 0.060177 | 0.056953 | -0.13304
[5 empty] | 1.2971 | 2.2508 | 3.123 | 4.1069 | 5.1642 | 0.23191 | 0.034635 | 0.074972 | 0.011143 | -0.21435
[5 empty] | 1.2981 | 2.2364 | 3.1391 | 4.1265 | 5.1536 | 0.23294 | 0.020174 | 0.091106 | 0.030678 | -0.22493
[5 empty] | 1.2959 | 2.2347 | 3.1114 | 4.1075 | 5.1579 | 0.23065 | 0.01845 | 0.063448 | 0.011703 | -0.22063
[5 empty] | 1.2973 | 2.2319 | 3.1159 | 4.071 | 5.185 | 0.23213 | 0.015712 | 0.067933 | -0.024753 | -0.19348
[5 empty] | 1.2962 | 2.2295 | 3.1064 | 4.0359 | 5.2224 | 0.23101 | 0.013257 | 0.058386 | -0.059929 | -0.15612
[5 empty] | 1.297 | 2.222 | 3.1052 | 4.0891 | 5.1924 | 0.23177 | 0.0057768 | 0.057193 | -0.006686 | -0.1861
[5 empty] | 1.2955 | 2.206 | 3.0954 |  | 5.1804
[5 empty] | 1.2966 | 2.2113 | 3.0807 |  | 5.141
[5 empty] | 1.2946 | 2.2047 | 3.1116 |  | 5.1704
[6 empty] | 2.2033 |  |  | 5.1534
5.0907
5.1325
5.146
5.158
5.1676
5.1905
5.1822
5.1695
5.2235